## PART A
GA NAME |  | Bhilwara
WBS Code |  | A-BB58-03-01
Schedule of Rates for Steel Pipeline Laying
Sr. No. | SAP CODE | SAP DESCRIPTION | ITEM DESCRIPTION | UOM | Tentative Qty - GA Wise | Rate | Amount
A | Steel Laying Works: In Soft Soil |  |  | Mtrs | Part A-Hamirgarh to Soniyana
1 | 220014998 | LAY, PIPE, STEEL, OPEN CUT, SOIL, 12 IN | 12" x6.4mm Wall Thck X-42 Pipeline Laying (1.5 m Pipe Top Cover) | Mtr. | 500
2 | 220014997 | LAY, PIPE, STEEL, OPEN CUT, SOIL, 8 IN | 8"x6.4mm Wall Thck X-42 Pipeline Laying (1.5 m Pipe Top Cover) | Mtr. | 3000
3 | 220014996 | LAY, PIPE, STEEL, OPEN CUT, SOIL, 6 IN | 6"x6.4mm Wall Thck X-42 Pipeline Laying (1.5 m Pipe Top Cover) | Mtr. | 0
4 | 220014995 | LAY, PIPE, STEEL, OPEN CUT, SOIL, 4 IN | 4"x6.4mm Wall Thck X-42 Pipeline Laying (1.5 m Pipe Top Cover) | Mtr. | 1200
B | Steel Laying Works: In Rocky Strata
1 | 220014994 | LAY, PIPE, STEEL, OPEN CUT, ROCKY, 12 IN | 12" x6.4mm Wall Thck X-42 Pipeline Laying (1.5 m Pipe Top Cover) | Mtr. | 200
2 | 220014993 | LAY, PIPE, STEEL, OPEN CUT, ROCKY, 8 IN | 8"x6.4mm Wall Thck X-42 Pipeline Laying (1.5 m Pipe Top Cover) | Mtr. | 1500
3 | 220014992 | LAY, PIPE, STEEL, OPEN CUT, ROCKY, 6 IN | 6"x6.4mm Wall Thck X-42 Pipeline Laying (1.5 m Pipe Top Cover) | Mtr. | 0
4 | 220014991 | LAY, PIPE, STEEL, OPEN CUT, ROCKY, 4 IN | 4"x6.4mm Wall Thck X-42 Pipeline Laying (1.5 m Pipe Top Cover) | Mtr. | 300
C | Parallel Laying Works: Steel with MDPE pipeline
C.1 | Parallel Laying Works: Steel with MDPE pipeline in Soft Soil
1 | 220015053 | LAY, PIPE, PE, 125 MM & STEEL, 300 MM | 125 MM MDPE + 12 IN STEEL Laying in Soft Soil | Mtr.
2 | 220015002 | LAY, PIPE, PE, 125 MM & STEEL, 200 MM | 125 MM MDPE + 8 IN STEEL Laying in Soft Soil | Mtr.
3 | 220015005 | LAY, PIPE, PE, 125 MM & STEEL, 100 MM | 125 MM MDPE + 4 IN STEEL Laying in Soft Soil | Mtr.
4 | 220015054 | LAY, PIPE, PE, 90 MM & STEEL, 300 MM | 90 MM MDPE + 12 IN STEEL Laying in Soft Soil | Mtr.
5 | 220015004 | LAY, PIPE, PE, 90 MM & STEEL, 200 MM | 90 MM MDPE + 8 IN STEEL Laying in Soft Soil | Mtr.
6 | 220015003 | LAY, PIPE, PE, 90 MM & STEEL, 100 MM | 90 MM MDPE + 4 IN STEEL Laying in Soft Soil | Mtr.
C.2 | Parallel Laying Works: Steel with MDPE pipeline in Built-up Surface (Parallel Laying)
3 | 220015060 | LAY, PIPE, PE, BLT, 125MM & STEEL, 300MM | 125 MM MDPE + 12 IN STEEL Laying in built-up surface | Mtr.
2 | 220015058 | LAY, PIPE, PE, BLT, 125MM & STEEL, 200MM | 125 MM MDPE + 8 IN STEEL Laying in built-up surface | Mtr.
1 | 220015057 | LAY, PIPE, PE, BLT, 125MM & STEEL, 100MM | 125 MM MDPE + 4 IN STEEL Laying in built-up surface | Mtr.
6 | 220015059 | LAY, PIPE, BLT, PE, 90 MM & STEEL, 300MM | 90 MM MDPE + 12 IN STEEL Laying in built-up surface | Mtr.
5 | 220015056 | LAY, PIPE, PE, BLT, 90 MM & STEEL, 200MM | 90 MM MDPE + 8 IN STEEL Laying in built-up surface | Mtr.
4 | 220015055 | LAY, PIPE, PE, BLT, 90 MM & STEEL, 100MM | 90 MM MDPE + 4 IN STEEL Laying in built-up surface | Mtr.
C.3 | Parallel Laying Works: Steel with MDPE pipeline in Rocky Strata (Parallel Laying)
3 | 220015052 | LAY, PIPE, PE, RKY, 125MM & STEEL, 300MM | 125 MM MDPE + 12 IN STEEL Laying in Rocky Strata | Mtr.
2 | 220015040 | LAY, PIPE, PE, RKY, 125MM & STEEL, 200MM | 125 MM MDPE + 8 IN STEEL Laying in Rocky Strata | Mtr.
1 | 220015044 | LAY, PIPE, PE, RKY, 125MM & STEEL, 100MM | 125 MM MDPE + 4 IN STEEL Laying in Rocky Strata | Mtr.
6 | 220015051 | LAY, PIPE, PE, RKY, 90 MM & STEEL, 300MM | 90 MM MDPE + 12 IN STEEL Laying in Rocky Strata | Mtr.
5 | 220015038 | LAY, PIPE, RKY, PE, 90 MM & STEEL, 200MM | 90 MM MDPE + 8 IN STEEL Laying in Rocky Strata | Mtr.
4 | 220015039 | LAY, PIPE, RKY, PE, 90 MM & STEEL, 100MM | 90 MM MDPE + 4 IN STEEL Laying in Rocky Strata | Mtr.
D | Installation of SV / Tap Offs :
1 | 220015012 | INSTALL, FUTURE TAP OFF POINT, 12X12 IN | Installation of 12" dia Tap-off | Nos.
2 | 220014480 | INSTALL, FUTURE TAP OFF POINT, 8X8 IN | Installation of 8" dia Tap-off | Nos.
3 | 220015011 | INSTALL, FUTURE TAP OFF POINT, 6X6 IN | Installation of 6" dia Tap-off | Nos.
4 | 220014186 | INSTALL, FUTURE TAP OFF POINT, 4X4 IN | Installation of 4" dia Tap-off | Nos.
E | Installation of Valves
1 | 220011504 | INSTALL, VALVE, BALL, 300 MM | 12" NB 300# B/W Ball Valve Installation | Nos. | 3
2 | 220000872 | INSTALL, VALVE, BALL, 200 MM | 8" NB 300# B/W Ball Valve Installation | Nos. | 5
3 | 220015000 | INSTALL, VALVE, BALL, 150 MM | 6" NB 300# B/W Ball Valve Installation | Nos. | 0
4 | 220000673 | INSTALL, VALVE, BALL, 100 MM | 4" NB 300# B/W Ball Valve Installation | Nos. | 4
5 | 220013277 | INSTALL, VALVE, BALL, 50 MM | 2" NB 300# B/W Ball Valve Installation | Nos. | 10
6 | 220011503 | INSTALL, VALVE, GLOBE, 50 MM | 2" NB 300# B/W Globe Valve Installation | Nos. | 10
7 | 220000673 | INSTALL, VALVE, BALL, 100 MM | 4" NB 300# F/E Ball Valve Installation | Nos. | 3
8 | 220012337 | SPLY&INST, VALVE, FLANGE BALL, 50 MM | 2" NB 300# F/E Ball Valve Installation | Nos. | 5
F | Valve Chamber Construction
1 | 120020505 | CONSTRUCT, VALVE CHAMBER | CONSTRUCTION OF RCC VALVE CHAMBER (SIZE 2500 X 2000 X 2200 MM) | Nos. | 8
G. | INSTALLATION OF CARRIER PIPE BY HDD METHOD
G.1 | SOIL:-INSTALLATION OF CARRIER PIPE BY HDD METHOD - UNCASED CROSSING IN SOIL
1 | 220014990 | LAY, PIPE, STEEL, HDD,UNCASED,SOIL,12 IN | 12" NB Uncased crossing by HDD M/C in Soil Strata | Mtr. | 0
2 | 220014989 | LAY, PIPE, STEEL, HDD, UNCASED,SOIL,8 IN | 8" NB Uncased crossing by HDD M/C in Soil Strata | Mtr. | 2000
4 | 220014988 | LAY, PIPE, STEEL, HDD, UNCASED,SOIL,6 IN | 6" NB Uncased crossing by HDD M/C in Soil Strata | Mtr. | 0
6 | 220014987 | LAY, PIPE, STEEL, HDD, UNCASED,SOIL,4 IN | 4" NB Uncased crossing by HDD M/C in Soil Strata | Mtr. | 300
G.2 | ROCKY:-INSTALLATION OF CARRIER PIPE BY HDD METHOD - UNCASED CROSSING IN ROCKY
1 | 220014986 | LAY, PIPE, STEEL, HDD, UNCASED,RKY,12 IN | 12" NB Uncased crossing by HDD M/C in Rocky Strata | Mtr. | 200
2 | 220014985 | LAY, PIPE, STEEL, HDD, UNCASED,RKY,8 IN | 8" NB Uncased crossing by HDD M/C in Rocky Strata | Mtr. | 3000
3 | 220014984 | LAY, PIPE, STEEL, HDD, UNCASED, RKY,6 IN | 6" NB Uncased crossing by HDD M/C in Rocky Strata | Mtr. | 0
4 | 220014983 | LAY, PIPE, STEEL, HDD, UNCASED, RKY,4 IN | 4" NB Uncased crossing by HDD M/C in Rocky Strata | Mtr. | 300
G.3 | SOIL:-CASED CROSSING BY HDD INCLUDING INSULATOR AND END SEAL (CASING PIPE SUPPLY BY CLIENT)
1 | 220014981 | LAY, PIPE, STEEL, HDD,CASED,SOIL,24X12IN | 12" X 24" Cased Crossing | Mtr.
2 | 220014982 | LAY, PIPE, STEEL, HDD,CASED,SOIL,18X12IN | 12" X 18" Cased Crossing | Mtr. | 100
3 | 220014980 | LAY, PIPE, STEEL, HDD, CASED,SOIL,16X8IN | 8" X 16" Cased Crossing | Mtr.
4 | 220014979 | LAY, PIPE, STEEL, HDD, CASED,SOIL,14X8IN | 8" X 14" Cased Crossing | Mtr. | 150
6 | 220014978 | LAY, PIPE, STEEL, HDD, CASED, SOIL12X8IN | 8" X 12" Cased Crossing | Mtr.
7 | 220014977 | LAY, PIPE, STEEL, HDD, CASED, SOIL12X6IN | 6" X 12" Cased Crossing | Mtr.
8 | 220014976 | LAY, PIPE, STEEL, HDD, CASED,SOIL,10X4IN | 4" X 10" Cased Crossing | Mtr.
9 | 220014975 | LAY, PIPE, STEEL, HDD, CASED, SOIL,8X4IN | 4" X 8" Cased Crossing | Mtr. | 100
G.4 | ROCKY:-CASED CROSSING BY HDD INCLUDING INSULATOR AND END SEAL (CASING PIPE SUPPLY BY CLIENT)
1 | 220014959 | LAY, PIPE, STEEL, HDD, CASED, RKY, 8X4IN | 4" X 8" Cased Crossing | Mtr. | 200
2 | 220014960 | LAY, PIPE, STEEL, HDD, CASED, RKY,10X4IN | 4" X 10" Cased Crossing | Mtr.
3 | 220014969 | LAY, PIPE, STEEL, HDD, CASED, RKY,16X8IN | 8" X 16" Cased Crossing | Mtr.
4 | 220014970 | LAY, PIPE, STEEL, HDD, CASED, RKY,18X12IN | 12" X 18" Cased Crossing | Mtr. | 200
6 | 220014971 | LAY, PIPE, STEEL, HDD, CASED ,RKY,12X6IN | 6" X 12" Cased Crossing | Mtr.
7 | 220014972 | LAY, PIPE, STEEL, HDD, CASED, RKY,12X8IN | 8" X 12" Cased Crossing | Mtr.
8 | 220014973 | LAY, PIPE, STEEL, HDD, CASED, RKY,14X8IN | 8" X 14" Cased Crossing | Mtr. | 150
9 | 220014974 | LAY, PIPE, STEEL, HDD, CASED, RKY,24X12IN | 12" X 24" Cased Crossing | Mtr.
H | CROSSING BY MOLING METHOD
1 | 220014958 | LAY, PIPE, STEEL, CROSS, MOLING, 300 MM | Size: 12" | Mtr. | 0
2 | 220014957 | LAY, PIPE, STEEL, CROSS, MOLING, 200 MM | Size: 8" | Mtr. | 200
3 | 220014956 | LAY, PIPE, STEEL, CROSS, MOLING, 150 MM | Size: 6" | Mtr. | 0
4 | 220014955 | LAY, PIPE, STEEL, CROSS, MOLING, 100 MM | Size: 4" | Mtr. | 100
I | OTHER ITEMS
1 | 120021164 | SPLY&FIX, SHEET, NEOPRENE | S&I of Neoprene / HDPE Sheet of Suitable Width as per drawings, specifications of E-I-C. (Thickness 6 mm) | Sq. Mtr. | 300
2 | 120014355 | EXCAVATE, SOIL | Extra Excavation in soil | M3 | 250
3 | 120020522 | LAY, PCC, M20, 1:1.5:3 | PLAIN CEMENT CONCRETE (Supplying and laying plain cement concrete of grade M 20 with stone aggregate 20mm down grade (including shuttering if required) in all types of concrete works including levelling courses below foundations, columns, pedestals, pedestal bases, pipe supports,floors, chambers, cable trench, under floors and any other locations (which are not covered as part of composite items) , at all levels and locations as per drawings, specifications and directions of the Engineer I/C. Rate to include cost of all labour, tools, tackles, equipment, hire charges, supply of all materials, shuttering in all conditions etc. with all bye works and sundry works.) | Cu. M | 100
4 | 120020561 | LAY, RCC, M25, 1:1:2 | REINFORCED CEMENT CONCRETE IN SUB STRUCTURE WORKS (Providing and laying RCC (reinforced cement concrete) of grade M-25 with 20mm and down grade crushed stone aggregate in all types of sub-structures like Beams, foundations, walls, columns, pedestals, pedestal bases, pipe supports, sleepers, cable trench, RCC retaining wall foundation for boundary wall including construction joints, bitumen painting on surfaces in contact with soil, shuttering, supplying and fixing MS inserts, finishes etc. at all depths and levels complete as per drawings, specifications and directions of the Engineer I/C.Rate to include cost of all labour, tools, tackles, equipment, hire charges, supply of all materials such as minimum 43 grade OPC cement including sulphate resistant cement for sub-structures, inserts, bolts, conduits, bitumen, excavation, PCC M-10 in mud mat, other minor construction materials, shuttering , staging, testing of concrete, curing etc. except reinforcement steel with all works and sundry works complete). | Cu. M | 100
5 | 120003212 | FABR&FIX, STEEL REINFORCEMENT, FE 415 | Supplying and providing reinforcement (for reinforced cement concrete works) Thermo-mechanically treated Fe-415 bars conforming to IS:1786 including initial straightening of coiled/uncoiled bars, removal of loose rust, cutting, bending to correct size & shape, binding with 18 gauge G.I. wire at each intersection and placing at any position, at any height and depth complete in all respects inclusive of cost of all labour, materials, tools, tackles etc. as per drawings, specifications and direction of Engineer I/C. | MT | 2
6 | 120021186 | LAY, BEDDING, SAND | Sand bedding & Padding (Supplying and filling coarse sand under floors, in foundations, floor, trenches, plinth etc. including cost-of sand, royalty, transportation, loading, unloading, spreading in layers not exceeding 20 cm., watering, ramming, compacting, dressing and levelling etc complete in all respects inclusive of cost of all labourr, materials, tools, tackels, etc. as per drawings, specifications an direction of E-I-C) | Mtr. | 100
7 | 150014546 | SPLY&INST, JUMPER, COPPER | Copper Jumper ( 100mmx50mm) | Nos. | 25
8 | 120020653 | DISMANTLE, ROAD | Breaking of Bituminous Road / Tar Road / Hard Soil | M3 | 250
9 | 120014335 | DISMANTLE, RCC STRUCTURE | Breaking of RCC with Electrical / Pneumatic / Hydraulic Breaker Machine. | M3 | 250
10 | 100000317 | LIASIONING CHARGES | Liasioning Cost (if required) with various government / Semi government / Private land owner after receiving Principle permissions from AGL (Withiin Municipal Limit) | Mtr. | 13700
12 | 120019883 | RESTORE, ROAD, ASPHALT | Restoration of Ashphalted Road | Mtr. | 250
13 | 120019885 | RESTORE, ROAD, CONCRETE, UPTO 10 CM | Restoration of RCC Road | Mtr. | 250
14 | 99992365 | RESTORE, TILES/SLAB/BLOCK | Restoration of PCC Road | Mtr. | 250
15 | 120005560 | SPLY&LAY, PCC, M20, 1:1.5:3 | Plain Cement Concrete (PCC) Works M20 Grade | M3 | 100
16 | 120001227 | SPLY&LAY, RCC, M20, 1:1.5:3 | Reinforced Cement Concrete (RCC) works M20 Grade | M3 | 100
J | PERMANENT MARKERS
1 | 220014473 | SPLY&INST, ROUTE MARKER, PIPELINE | PIPELINE MARKER (STEEL) (Directional Markers, Warning Markers, Kilomenter Markers.) | Nos. | 20
K | PLANT PIPING (ONLY FOR ABOVEGROUND WORKS/ CNG STATION/ DRS & MRS LOCATIONS)
1 | 220000171 | FABRICATE, ERECT & WELD, PIPE, 12 IN | PIPING WORKS, 12", API 5L X 42 | Mtr. | 0
2 | 220000178 | FABRICATE, ERECT & WELD, PIPE, 8 IN | PIPING WORKS, 8", API 5L X 42 | Mtr. | 0
3 | 220000177 | FABRICATE, ERECT & WELD, PIPE, 6 IN | PIPING WORKS, 6", API 5L X 42 | Mtr. | 0
4 | 220000176 | FABRICATE, ERECT & WELD, PIPE, 4 IN | PIPING WORKS, 4", API 5L X 42 | Mtr. | 100
5 | 220012416 | FABRICATE, ERECT & WELD, PIPE, 2 IN | PIPING WORKS, 2", SCH 80, ASTM A 106 GR. B | Mtr. | 100
L | INSULATING JOINT INSTALLATION
6 | 220014886 | INSTALL, INSULATING JOINT | 12" NB 300#Insulating Joint Installation | Nos. | 0
7 | 220014886 | INSTALL, INSULATING JOINT | 8" NB 300# Insualting Joint Installation | Nos. | 2
8 | 220014886 | INSTALL, INSULATING JOINT | 6" NB 300#Insulating Joint Installation | Nos. | 0
9 | 220014886 | INSTALL, INSULATING JOINT | 4" NB 300# Insualting Joint Installation | Nos. | 4
10 | 220014886 | INSTALL, INSULATING JOINT | 2" NB 300# Insualting Joint Installation | Nos. | 4

## PART B
GA NAME |  | Bhilwara
WBS Code |  | A-BB58-03-01
Schedule of Rates for Steel Pipeline Laying
Sr. No. | SAP CODE | SAP DESCRIPTION | ITEM DESCRIPTION | UOM | Tentative Qty - GA Wise | Rate | Amount
A | Steel Laying Works: In Soft Soil |  |  | Mtrs | Part B-Mandapiya to Hamirgarh Industrial Area
1 | 220014998 | LAY, PIPE, STEEL, OPEN CUT, SOIL, 12 IN | 12" x6.4mm Wall Thck X-42 Pipeline Laying (1.5 m Pipe Top Cover) | Mtr.
2 | 220014997 | LAY, PIPE, STEEL, OPEN CUT, SOIL, 8 IN | 8"x6.4mm Wall Thck X-42 Pipeline Laying (1.5 m Pipe Top Cover) | Mtr. | 3000
3 | 220014996 | LAY, PIPE, STEEL, OPEN CUT, SOIL, 6 IN | 6"x6.4mm Wall Thck X-42 Pipeline Laying (1.5 m Pipe Top Cover) | Mtr.
4 | 220014995 | LAY, PIPE, STEEL, OPEN CUT, SOIL, 4 IN | 4"x6.4mm Wall Thck X-42 Pipeline Laying (1.5 m Pipe Top Cover) | Mtr.
B | Steel Laying Works: In Rocky Strata
1 | 220014994 | LAY, PIPE, STEEL, OPEN CUT, ROCKY, 12 IN | 12" x6.4mm Wall Thck X-42 Pipeline Laying (1.5 m Pipe Top Cover) | Mtr.
2 | 220014993 | LAY, PIPE, STEEL, OPEN CUT, ROCKY, 8 IN | 8"x6.4mm Wall Thck X-42 Pipeline Laying (1.5 m Pipe Top Cover) | Mtr. | 1500
3 | 220014992 | LAY, PIPE, STEEL, OPEN CUT, ROCKY, 6 IN | 6"x6.4mm Wall Thck X-42 Pipeline Laying (1.5 m Pipe Top Cover) | Mtr.
4 | 220014991 | LAY, PIPE, STEEL, OPEN CUT, ROCKY, 4 IN | 4"x6.4mm Wall Thck X-42 Pipeline Laying (1.5 m Pipe Top Cover) | Mtr. | 300
C | Parallel Laying Works: Steel with MDPE pipeline
C.1 | Parallel Laying Works: Steel with MDPE pipeline in Soft Soil
1 | 220015053 | LAY, PIPE, PE, 125 MM & STEEL, 300 MM | 125 MM MDPE + 12 IN STEEL Laying in Soft Soil | Mtr.
2 | 220015002 | LAY, PIPE, PE, 125 MM & STEEL, 200 MM | 125 MM MDPE + 8 IN STEEL Laying in Soft Soil | Mtr.
3 | 220015005 | LAY, PIPE, PE, 125 MM & STEEL, 100 MM | 125 MM MDPE + 4 IN STEEL Laying in Soft Soil | Mtr.
4 | 220015054 | LAY, PIPE, PE, 90 MM & STEEL, 300 MM | 90 MM MDPE + 12 IN STEEL Laying in Soft Soil | Mtr.
5 | 220015004 | LAY, PIPE, PE, 90 MM & STEEL, 200 MM | 90 MM MDPE + 8 IN STEEL Laying in Soft Soil | Mtr.
6 | 220015003 | LAY, PIPE, PE, 90 MM & STEEL, 100 MM | 90 MM MDPE + 4 IN STEEL Laying in Soft Soil | Mtr.
C.2 | Parallel Laying Works: Steel with MDPE pipeline in Built-up Surface (Parallel Laying)
3 | 220015060 | LAY, PIPE, PE, BLT, 125MM & STEEL, 300MM | 125 MM MDPE + 12 IN STEEL Laying in built-up surface | Mtr.
2 | 220015058 | LAY, PIPE, PE, BLT, 125MM & STEEL, 200MM | 125 MM MDPE + 8 IN STEEL Laying in built-up surface | Mtr.
1 | 220015057 | LAY, PIPE, PE, BLT, 125MM & STEEL, 100MM | 125 MM MDPE + 4 IN STEEL Laying in built-up surface | Mtr.
6 | 220015059 | LAY, PIPE, BLT, PE, 90 MM & STEEL, 300MM | 90 MM MDPE + 12 IN STEEL Laying in built-up surface | Mtr.
5 | 220015056 | LAY, PIPE, PE, BLT, 90 MM & STEEL, 200MM | 90 MM MDPE + 8 IN STEEL Laying in built-up surface | Mtr.
4 | 220015055 | LAY, PIPE, PE, BLT, 90 MM & STEEL, 100MM | 90 MM MDPE + 4 IN STEEL Laying in built-up surface | Mtr.
C.3 | Parallel Laying Works: Steel with MDPE pipeline in Rocky Strata (Parallel Laying)
3 | 220015052 | LAY, PIPE, PE, RKY, 125MM & STEEL, 300MM | 125 MM MDPE + 12 IN STEEL Laying in Rocky Strata | Mtr.
2 | 220015040 | LAY, PIPE, PE, RKY, 125MM & STEEL, 200MM | 125 MM MDPE + 8 IN STEEL Laying in Rocky Strata | Mtr.
1 | 220015044 | LAY, PIPE, PE, RKY, 125MM & STEEL, 100MM | 125 MM MDPE + 4 IN STEEL Laying in Rocky Strata | Mtr.
6 | 220015051 | LAY, PIPE, PE, RKY, 90 MM & STEEL, 300MM | 90 MM MDPE + 12 IN STEEL Laying in Rocky Strata | Mtr.
5 | 220015038 | LAY, PIPE, RKY, PE, 90 MM & STEEL, 200MM | 90 MM MDPE + 8 IN STEEL Laying in Rocky Strata | Mtr.
4 | 220015039 | LAY, PIPE, RKY, PE, 90 MM & STEEL, 100MM | 90 MM MDPE + 4 IN STEEL Laying in Rocky Strata | Mtr.
D | Installation of SV / Tap Offs :
1 | 220015012 | INSTALL, FUTURE TAP OFF POINT, 12X12 IN | Installation of 12" dia Tap-off | Nos.
2 | 220014480 | INSTALL, FUTURE TAP OFF POINT, 8X8 IN | Installation of 8" dia Tap-off | Nos.
3 | 220015011 | INSTALL, FUTURE TAP OFF POINT, 6X6 IN | Installation of 6" dia Tap-off | Nos.
4 | 220014186 | INSTALL, FUTURE TAP OFF POINT, 4X4 IN | Installation of 4" dia Tap-off | Nos.
E | Installation of Valves
1 | 220011504 | INSTALL, VALVE, BALL, 300 MM | 12" NB 300# B/W Ball Valve Installation | Nos.
2 | 220000872 | INSTALL, VALVE, BALL, 200 MM | 8" NB 300# B/W Ball Valve Installation | Nos. | 5
3 | 220015000 | INSTALL, VALVE, BALL, 150 MM | 6" NB 300# B/W Ball Valve Installation | Nos.
4 | 220000673 | INSTALL, VALVE, BALL, 100 MM | 4" NB 300# B/W Ball Valve Installation | Nos. | 4
5 | 220013277 | INSTALL, VALVE, BALL, 50 MM | 2" NB 300# B/W Ball Valve Installation | Nos. | 10
6 | 220011503 | INSTALL, VALVE, GLOBE, 50 MM | 2" NB 300# B/W Globe Valve Installation | Nos. | 10
7 | 220000673 | INSTALL, VALVE, BALL, 100 MM | 4" NB 300# F/E Ball Valve Installation | Nos. | 3
8 | 220012337 | SPLY&INST, VALVE, FLANGE BALL, 50 MM | 2" NB 300# F/E Ball Valve Installation | Nos. | 5
F | Valve Chamber Construction
1 | 120020505 | CONSTRUCT, VALVE CHAMBER | CONSTRUCTION OF RCC VALVE CHAMBER (SIZE 2500 X 2000 X 2200 MM) | Nos. | 8
G. | INSTALLATION OF CARRIER PIPE BY HDD METHOD
G.1 | SOIL:-INSTALLATION OF CARRIER PIPE BY HDD METHOD - UNCASED CROSSING IN SOIL
1 | 220014990 | LAY, PIPE, STEEL, HDD,UNCASED,SOIL,12 IN | 12" NB Uncased crossing by HDD M/C in Soil Strata | Mtr.
2 | 220014989 | LAY, PIPE, STEEL, HDD, UNCASED,SOIL,8 IN | 8" NB Uncased crossing by HDD M/C in Soil Strata | Mtr. | 2000
4 | 220014988 | LAY, PIPE, STEEL, HDD, UNCASED,SOIL,6 IN | 6" NB Uncased crossing by HDD M/C in Soil Strata | Mtr.
6 | 220014987 | LAY, PIPE, STEEL, HDD, UNCASED,SOIL,4 IN | 4" NB Uncased crossing by HDD M/C in Soil Strata | Mtr. | 300
G.2 | ROCKY:-INSTALLATION OF CARRIER PIPE BY HDD METHOD - UNCASED CROSSING IN ROCKY
1 | 220014986 | LAY, PIPE, STEEL, HDD, UNCASED,RKY,12 IN | 12" NB Uncased crossing by HDD M/C in Rocky Strata | Mtr.
2 | 220014985 | LAY, PIPE, STEEL, HDD, UNCASED,RKY,8 IN | 8" NB Uncased crossing by HDD M/C in Rocky Strata | Mtr. | 3000
3 | 220014984 | LAY, PIPE, STEEL, HDD, UNCASED, RKY,6 IN | 6" NB Uncased crossing by HDD M/C in Rocky Strata | Mtr.
4 | 220014983 | LAY, PIPE, STEEL, HDD, UNCASED, RKY,4 IN | 4" NB Uncased crossing by HDD M/C in Rocky Strata | Mtr. | 300
G.3 | SOIL:-CASED CROSSING BY HDD INCLUDING INSULATOR AND END SEAL (CASING PIPE SUPPLY BY CLIENT)
1 | 220014981 | LAY, PIPE, STEEL, HDD,CASED,SOIL,24X12IN | 12" X 24" Cased Crossing | Mtr.
2 | 220014982 | LAY, PIPE, STEEL, HDD,CASED,SOIL,18X12IN | 12" X 18" Cased Crossing | Mtr.
3 | 220014980 | LAY, PIPE, STEEL, HDD, CASED,SOIL,16X8IN | 8" X 16" Cased Crossing | Mtr.
4 | 220014979 | LAY, PIPE, STEEL, HDD, CASED,SOIL,14X8IN | 8" X 14" Cased Crossing | Mtr. | 200
6 | 220014978 | LAY, PIPE, STEEL, HDD, CASED, SOIL12X8IN | 8" X 12" Cased Crossing | Mtr.
7 | 220014977 | LAY, PIPE, STEEL, HDD, CASED, SOIL12X6IN | 6" X 12" Cased Crossing | Mtr.
8 | 220014976 | LAY, PIPE, STEEL, HDD, CASED,SOIL,10X4IN | 4" X 10" Cased Crossing | Mtr.
9 | 220014975 | LAY, PIPE, STEEL, HDD, CASED, SOIL,8X4IN | 4" X 8" Cased Crossing | Mtr. | 100
G.4 | ROCKY:-CASED CROSSING BY HDD INCLUDING INSULATOR AND END SEAL (CASING PIPE SUPPLY BY CLIENT)
1 | 220014959 | LAY, PIPE, STEEL, HDD, CASED, RKY, 8X4IN | 4" X 8" Cased Crossing | Mtr. | 200
2 | 220014960 | LAY, PIPE, STEEL, HDD, CASED, RKY,10X4IN | 4" X 10" Cased Crossing | Mtr.
3 | 220014969 | LAY, PIPE, STEEL, HDD, CASED, RKY,16X8IN | 8" X 16" Cased Crossing | Mtr.
4 | 220014970 | LAY, PIPE, STEEL, HDD, CASED, RKY,18X12IN | 12" X 18" Cased Crossing | Mtr.
6 | 220014971 | LAY, PIPE, STEEL, HDD, CASED ,RKY,12X6IN | 6" X 12" Cased Crossing | Mtr.
7 | 220014972 | LAY, PIPE, STEEL, HDD, CASED, RKY,12X8IN | 8" X 12" Cased Crossing | Mtr.
8 | 220014973 | LAY, PIPE, STEEL, HDD, CASED, RKY,14X8IN | 8" X 14" Cased Crossing | Mtr. | 200
9 | 220014974 | LAY, PIPE, STEEL, HDD, CASED, RKY,24X12IN | 12" X 24" Cased Crossing | Mtr.
H | CROSSING BY MOLING METHOD
1 | 220014958 | LAY, PIPE, STEEL, CROSS, MOLING, 300 MM | Size: 12" | Mtr.
2 | 220014957 | LAY, PIPE, STEEL, CROSS, MOLING, 200 MM | Size: 8" | Mtr. | 250
3 | 220014956 | LAY, PIPE, STEEL, CROSS, MOLING, 150 MM | Size: 6" | Mtr.
4 | 220014955 | LAY, PIPE, STEEL, CROSS, MOLING, 100 MM | Size: 4" | Mtr. | 100
I | OTHER ITEMS
1 | 120021164 | SPLY&FIX, SHEET, NEOPRENE | S&I of Neoprene / HDPE Sheet of Suitable Width as per drawings, specifications of E-I-C. (Thickness 6 mm) | Sq. Mtr. | 300
2 | 120014355 | EXCAVATE, SOIL | Extra Excavation in soil | M3 | 250
3 | 120020522 | LAY, PCC, M20, 1:1.5:3 | PLAIN CEMENT CONCRETE (Supplying and laying plain cement concrete of grade M 20 with stone aggregate 20mm down grade (including shuttering if required) in all types of concrete works including levelling courses below foundations, columns, pedestals, pedestal bases, pipe supports,floors, chambers, cable trench, under floors and any other locations (which are not covered as part of composite items) , at all levels and locations as per drawings, specifications and directions of the Engineer I/C. Rate to include cost of all labour, tools, tackles, equipment, hire charges, supply of all materials, shuttering in all conditions etc. with all bye works and sundry works.) | Cu. M | 100
4 | 120020561 | LAY, RCC, M25, 1:1:2 | REINFORCED CEMENT CONCRETE IN SUB STRUCTURE WORKS (Providing and laying RCC (reinforced cement concrete) of grade M-25 with 20mm and down grade crushed stone aggregate in all types of sub-structures like Beams, foundations, walls, columns, pedestals, pedestal bases, pipe supports, sleepers, cable trench, RCC retaining wall foundation for boundary wall including construction joints, bitumen painting on surfaces in contact with soil, shuttering, supplying and fixing MS inserts, finishes etc. at all depths and levels complete as per drawings, specifications and directions of the Engineer I/C.Rate to include cost of all labour, tools, tackles, equipment, hire charges, supply of all materials such as minimum 43 grade OPC cement including sulphate resistant cement for sub-structures, inserts, bolts, conduits, bitumen, excavation, PCC M-10 in mud mat, other minor construction materials, shuttering , staging, testing of concrete, curing etc. except reinforcement steel with all works and sundry works complete). | Cu. M | 100
5 | 120003212 | FABR&FIX, STEEL REINFORCEMENT, FE 415 | Supplying and providing reinforcement (for reinforced cement concrete works) Thermo-mechanically treated Fe-415 bars conforming to IS:1786 including initial straightening of coiled/uncoiled bars, removal of loose rust, cutting, bending to correct size & shape, binding with 18 gauge G.I. wire at each intersection and placing at any position, at any height and depth complete in all respects inclusive of cost of all labour, materials, tools, tackles etc. as per drawings, specifications and direction of Engineer I/C. | MT | 2
6 | 120021186 | LAY, BEDDING, SAND | Sand bedding & Padding (Supplying and filling coarse sand under floors, in foundations, floor, trenches, plinth etc. including cost-of sand, royalty, transportation, loading, unloading, spreading in layers not exceeding 20 cm., watering, ramming, compacting, dressing and levelling etc complete in all respects inclusive of cost of all labourr, materials, tools, tackels, etc. as per drawings, specifications an direction of E-I-C) | Mtr. | 100
7 | 150014546 | SPLY&INST, JUMPER, COPPER | Copper Jumper ( 100mmx50mm) | Nos. | 25
8 | 120020653 | DISMANTLE, ROAD | Breaking of Bituminous Road / Tar Road / Hard Soil | M3 | 250
9 | 120014335 | DISMANTLE, RCC STRUCTURE | Breaking of RCC with Electrical / Pneumatic / Hydraulic Breaker Machine. | M3 | 250
10 | 100000317 | LIASIONING CHARGES | Liasioning Cost (if required) with various government / Semi government / Private land owner after receiving Principle permissions from AGL (Withiin Municipal Limit) | Mtr. | 11500
12 | 120019883 | RESTORE, ROAD, ASPHALT | Restoration of Ashphalted Road | Mtr. | 250
13 | 120019885 | RESTORE, ROAD, CONCRETE, UPTO 10 CM | Restoration of RCC Road | Mtr. | 250
14 | 99992365 | RESTORE, TILES/SLAB/BLOCK | Restoration of PCC Road | Mtr. | 250
15 | 120005560 | SPLY&LAY, PCC, M20, 1:1.5:3 | Plain Cement Concrete (PCC) Works M20 Grade | M3 | 100
16 | 120001227 | SPLY&LAY, RCC, M20, 1:1.5:3 | Reinforced Cement Concrete (RCC) works M20 Grade | M3 | 100
J | PERMANENT MARKERS
1 | 220014473 | SPLY&INST, ROUTE MARKER, PIPELINE | PIPELINE MARKER (STEEL) (Directional Markers, Warning Markers, Kilomenter Markers.) | Nos. | 20
K | PLANT PIPING (ONLY FOR ABOVEGROUND WORKS/ CNG STATION/ DRS & MRS LOCATIONS)
1 | 220000171 | FABRICATE, ERECT & WELD, PIPE, 12 IN | PIPING WORKS, 12", API 5L X 42 | Mtr.
2 | 220000178 | FABRICATE, ERECT & WELD, PIPE, 8 IN | PIPING WORKS, 8", API 5L X 42 | Mtr.
3 | 220000177 | FABRICATE, ERECT & WELD, PIPE, 6 IN | PIPING WORKS, 6", API 5L X 42 | Mtr.
4 | 220000176 | FABRICATE, ERECT & WELD, PIPE, 4 IN | PIPING WORKS, 4", API 5L X 42 | Mtr. | 100
5 | 220012416 | FABRICATE, ERECT & WELD, PIPE, 2 IN | PIPING WORKS, 2", SCH 80, ASTM A 106 GR. B | Mtr. | 100
L | INSULATING JOINT INSTALLATION
6 | 220014886 | INSTALL, INSULATING JOINT | 12" NB 300#Insulating Joint Installation | Nos.
7 | 220014886 | INSTALL, INSULATING JOINT | 8" NB 300# Insualting Joint Installation | Nos. | 2
8 | 220014886 | INSTALL, INSULATING JOINT | 6" NB 300#Insulating Joint Installation | Nos.
9 | 220014886 | INSTALL, INSULATING JOINT | 4" NB 300# Insualting Joint Installation | Nos. | 4
10 | 220014886 | INSTALL, INSULATING JOINT | 2" NB 300# Insualting Joint Installation | Nos. | 4